Name: 					Class:

# Lesson 1 Worksheet

Answer the following questions as you view the accompanying slide presentation.

- How much electricity is dangerous to the human body?

a. 1000μA 	b. 30mA+ c. 5V 	d. 50W

- Which of the following is not a primary factor affecting the severity of a shock?

a. Size of wire 	b. Amount of current

c. Path of current 	d. Duration of shock

- What kind of ladder should you use when working near power lines or while doing wiring?

- Which does GFCI stand for?

- Which of the following statements about indoor rated equipment is true?

- Using them outdoors will extend their life because the breeze will promote cooling

- Using them outdoors will limit their life because of exposure to UV light from the sun

- Using them outdoors will limit their life because of exposure to moisture and rain

- When removing an extension cord, how should it be removed?

a. Pull it by the cord 				b. Pull it by the plug

c. Using the cord yank as hard as you can 	d. Cut the wire

- What does PPE stand for?

- What OSHA stand for?

- Why is lockout/tagout important?

- What is a risk of using a power strip?