Name: ___________________________ Class: ___________________________

# Lesson 3 Quiz

Answer the following questions using the information you learned in this lesson.

1. True or False – You should read the instructions that come with most electrical fixtures.

2. Which of the following is not a typical power generation source?

a. Nuclear plant 	b. Mr. Fusion

c. Solar panels 	d. Wind turbine

3. Where does electric power enter a home?

a. Service drop 	b. Underground

c. Basement 		d. Entry hub

4. What voltages would you expect to see in residential wiring?

a. 120, 240 		b. 115, 280

c. 110, 200 		d. 110, 120

5. Which of the following wire types would contain 4 conductors (wires)?

a. 14-2 		b. 10-2

c. 12-2 with ground 	d. 12-3 with ground

6. True or False – Wire should be routed around the inside of wall studs to prevent damage

from nails and screws.

7. How far should you twist a wire nut?

a. 3 turns 			b. Until it stops

c. Until bare wire is covered 	d. Until you hear a click

8. Which of the following is true about trimming a cable?

a. There is only one right way to trim a cable

b. You will want to trim about 6 inches of the sheath to free up the internal wires

c. You need to trim all of the insulation off all of the conductors, down to the sheath

d. All of the above

9. True or False – Splices should be left exposed to the open air to promote cooling.

10. Which of the following should you do first when troubleshooting a circuit?

a. Test switches for continuity

b. Look for signs of arcing

c. Turn off power to the circuit

d. Verify wire connections are tight